## Index
Security Risk Assessment Methodology Prepared by KPMG for GIE
RISK ASSESSMENT FRAMEWORK
Phase | Risk Identification | Risk Analysis | Risk Evaluation | Risk Treatment
Worksheet | Classification | Threat vs Asset* | Threat vs Asset* | Guidelines
| Ranking | Impact-Likelihood (Risk Matrix) | Graph*
| Threat Catalogue | Likelihood Estimation Scale | Dashboard
(*) One sheet per asset should be populated

## Classification
| Security Risk Assessment Methodology (Asset classification) Prepared by KPMG for GIE | FILL IN ALL FIELDS
Asset Type |  | Answer | Scoring
Asset / Component ID | Define and identify univocally the asset/component object of your analysis. Is suggested the following code format: * If referring to an Asset, then use this criteria identification ID code: A.<ID.Asset.unique> * If referring to a Component (realted to one Asset "relative Asset"), then use this criteria identification: C.<ID.Asset.unique of the related asset>.<ID.component> [eg. a component, part of an asset identified by "A.OFF00001", is given a ID Asset/Component like "A.OFF00001.SRV0001"] If a code format like that is used, the following field can be useles. |  | -
Related asset ID | The component is a part of the related asset . If the object is an asset this field should be left blank, otherwise, if it is a part of a related asset (e.g. location), this field identifies the related asset. The single Organization is in charge to decide the level of breakdown of its assets in detailed components using specific criteria of criticality of the component. The Organization can use the asset breakdown in order to support the definition of additional security measures for specific components (e.g. the control room can be protected using an additional biometric access control while the other facitlities are protected with badge access) |  | -
Description/ function | The gas network is governed by four distinct operations, which are caracterized by specific asset / component. The objective of this section is to identify a common baseline, in order to clarify what is the function of the asset (operative location) for gas transport purposes: 1. Gas transmission * Valve stations * Pressure and metering stations * Compressor station * Data communication systems * Gas flow control centre * Process control systems * LNG Terminal installations * Import/export station 3. Gas storage * Underground storage installations * Peak shavers 4. Gas distribution * Blending stations * Emergency Call Center Other asset that are related to the gas transport system. * Administrative buildings * Regional/Area support centres |  | -
Asset Criticallity |  | Answer | Subjective Importance defined by the Organization | Overall Result | Scoring
Internal dependencies | What is the internal relationships and dependencies of assets? For example: * Which are the various dependencies for each asset (both upstream and downstream)? * What is the level of service production? |  | Very High | 0 | See column "F" in "Ranking" sheet
External dependencies | What is the external relationships and dependencies of assets? For example: * The productions in this site are intended for consumption in at least another EU Member State? * The production in this site reaches third countries through: rail transport; road transport; inland waterways; gas pipelines, oil pipelines, etc..; ocean freight, maritime, short-and long-range * The site directly supplies an airport? * The site supplies direct a military installation? |  | Very High | 0 | See column "H" in "Ranking" sheet
Financial impact | Considering the internal and external dependencies, what is the financial impact related to the unavailability of the asset? The evaluation must consider direct (i.e. loss of earnings, replacement/repair of the infrastructure, etc) and indirect (i.e. costs due to possible legal action perpetrated by companies / industries impacted, etc) financial impact |  | Very High | 0 | -
Gas supply impact | How many people would be indirectly (because of no supply of gas) impacted? |  | Very High | 0 | -
House/ Facilities | How many people live, work, transit (outside the location) within the "limit distance"* from the location? * the limit distance is defined as follow: For LNG: limit distance = 2km For Compressor station = 1 Km For pressure reduction stations = 500m |  | Very High | 0 | -
Workforce | Specify the number and type of workforce located onsite. For example: * n° of Management * n° of Technical * n° of Administrative * n° of occasional contractors. |  | Very High | 0 | See column "D" in "Ranking" sheet
Service Deliver | Considering the internal dependencies, specify the percentage of overall service delivery that the asset is responsible for. |  | Very High | 0 | -
Asset Characteristics to drive threat applicability |  | Answer | Scoring
Surrounding environment | Specify if in the contiguity/immediate vicinity, there are houses, industrial sites (uncontrolled by the Organization) |  | 0
| Specify if in the contiguity/immediate vicinity, there are Airport/Flight paths (uncontrolled by the Organization) |  | 0
| Specify if in the contiguity/immediate vicinity, there are railways (uncontrolled by the Organization) |  | 0
| Specify if in the contiguity/immediate vicinity, there are road/motorway/ (uncontrolled by the Organization) |  | 0
| Specify if in the contiguity/immediate vicinity, there are waterways or ports (uncontrolled by the Organization) |  | 0
| Specify if in the contiguity/immediate vicinity, there are High-voltage power lines (uncontrolled by the Organization) |  | 0
| Specify if there are any sensitive targets (e.g Government offices, Airports, Chemical and /or army industries, Radio repeaters, NATO bases, ...) within the "limit distance"* from the location? * the limit distance is defined as follow: For LNG: limit distance = 2km For Compressor station = 1 Km For pressure reduction stations = 500m |  | 0
| Specify if in the location is in a High criminality area |  | 0
Geographical characteristics | Specify if the location is in a "Land Area" |  | 0
| Specify if the location is in a "Shore Area" |  | 0
| Specify if the location is "Off-shore" |  | 0
| Specify if the location is in a "Volcanic Area" |  | 0
| Specify if the location is in a "Cold / rainy area" |  | 0
| Specify if the location is in a "Proximity to Lakes, Rivers" |  | 0
| Specify if the location is in a "Sismic Area" |  | 0
| Specify if the location is in a "Mountain Area" |  | 0
| Specify if the location is in a "Proximity to woods/ agricultural fields" |  | 0
| Specify if the location is in a "Tornado / Storm Area" |  | 0
| Specify if the location is in a "Desertic Area" |  | 0
Note on B9: KPMG: these characteristics are proposed to drive the evaluation of the impact and the attractiveness of the asset

## Ranking
Security Risk Assessment Methodology (Asset classification) Prepared by KPMG for GIE
Score | Level | Asset Criticallity | Asset Criticallity
|  | Workforce | Internal dependencies | External dependencies
1 | Very High | A very high percentage of the workforce or specialist staff or management is located at this facility | The Asset is critical to the functioning of other key Assets within the organisation/ network | The Asset is critical to the functioning of other key Assets external the organisation or for consumption in at least another EU Member State
0.75 | High | A high percentage of the workforce or specialist staff or management is located at this facility | The Asset is very important to the functioning of other key Assets within the organisation/ network | The Asset is very important to the functioning of other key Assets external the organisation or for consumption in at least another EU Member State
0.5 | Moderate | A moderate percentage of the workforce or specialist staff or management is located at this facility | The Asset is moderately important to the functioning of other key Assets within the organisation/ network | The Asset is moderately important to the functioning of other key Assets external the organisation or for consumption in at least another EU Member State
0.25 | Low | A low percentage of the workforce or specialist staff or management is located at this facility | The Asset is of low importance to the functioning of other key Assets within the organisation/ network | The Asset is of low importance to the functioning of other key Assets external the organisation or for consumption in at least another EU Member State
0 | Very Low | A very low percentage of the workforce or specialist staff or management is located at this facility | The Asset is of very low importance to the functioning of other key Assets within the organisation/ network | The Asset is of very low importance to the functioning of other key Assets external the organisation or for consumption in at least another EU Member State

## Threat Catalogue
Security Risk Assessment Methodology (Threat Profile) Prepared by KPMG for GIE
Threat Profile
Threat Type | Threat source | Threat class | vulnerability to exploit | Effect | Asset impacted | Impact | Impactable assets | Details of impactable assets
Natural threat | Earth | Threats related to Earthquake (shock waves, earth cracks, etc.) | A Shock waves impacts an Asset Earth cracks in the proximity of an Asset | A Shock waves impacts an Asset Earth cracks in the proximity of an Asset | Gas Infrastructure Asset Buildings | Destruction of Asset Damage to Asset | Gas Infrastructure Asset | * Valve stations * Pressure station * Pressure reducing stations, metering stations * Compressor station * Process control systems * Data communication systems * LNG Terminal installations * Export station * Underground storage installations * Peak shavers * Blending stations
Natural threat | Earth | Threats related to Land slide (landslide, mudslide, etc.) | A landslide impacts an Asset A mudslide impacts an Asset A mass wasting impacts an Asset | A landslide impacts an Asset A mudslide impacts an Asset A mass wasting impacts an Asset | Gas Infrastructure Asset Buildings People (HSE) | Destruction of Asset Damage to Asset Adverse effect on impacted people's health/safety
Natural threat | Earth | Volcanic eruption threats | Pressure (seismic wave) impacts an Asset A lava flow impacts an Asset Ash released by volcanic eruption impacts an Asset Toxic gases released by volcanic eruption impacts an Asset A Pyroclastic Flow impacts an Asset | Pressure (seismic wave) impacts an Asset A lava flow impacts an Asset Ash released by volcanic eruption impacts an Asset Toxic gases released by volcanic eruption impacts an Asset A Pyroclastic Flow impacts an Asset | Gas Infrastructure Asset Buildings People | Destruction of Asset Damage to Asset Adverse effect on impacted people's health/safety
Natural threat | Air | Wind Strength related threats (tornado, wind storm, etc.), including Material Movement (dust / sand storm, etc.) | A strong wind (tornato, hurricane, tropical storm, ecc.) impacts an Asset A sandstorm / duststorm impacts an Asset | A strong wind (tornato, hurricane, tropical storm, ecc.) impacts an Asset A sandstorm / duststorm impacts an Asset | Gas Infrastructure Asset ICT / Control System Asset Buildings People | Destruction of Asset Damage to Asset Disturbance to communication systems Adverse effect on impacted people's health/safety | ICT / Control System Asset | - Process Control Systems - Data communication systems
Natural threat | Water | Snow related threats (from sky, from mountains, etc.) | Obstruction of Components of an Asset Pressure / weight of big quantities of snow on Assets A blizzard impacts an Asset An avalanche impacts an Asset | Obstruction of Components of an Asset Pressure / weight of big quantities of snow on Assets A blizzard impacts an Asset An avalanche impacts an Asset | Gas Infrastructure Asset Buildings | Destruction of Asset Damage to Asset | Buildings | - Administrative buildings - regional support centres - Gas Flow Control Centre
Natural threat | Water | Threats related to Hail (grandine) | A hail impacts an Asset Pressure / weight of big quantities of hail on Assets | A hail impacts an Asset Pressure / weight of big quantities of hail on Assets | Gas Infrastructure Asset Buildings | Damage to Asset | People | -
Natural threat | Water | Water (dynamic) related threats - Tidal Wave / Tsunami | A tidal wave / tsunami impacts an Asset | A tidal wave / tsunami impacts an Asset | Gas Infrastructure Asset Buildings People | Destruction of Asset Damage to Asset Adverse effect on impacted people's health/safety
Natural threat | Water | Water (dynamic) related threats - Flood | High volumes of water impact an Asset Material transported by high volumes of water impact an Asset | High volumes of water impact an Asset Material transported by high volumes of water impact an Asset | Gas Infrastructure Asset Buildings People | Destruction of Asset Damage to Asset Adverse effect on impacted people's health/safety
Natural threat | Water | Water (dynamic) related threats - Water Spout (tromba marina o tromba d'acqua) | A water spout impacts an Asset | A water spout impacts an Asset | Gas Infrastructure Asset | Destruction of Asset Damage to Asset
Natural threat | Fire | Threats related to fire (fire storm, wild fire, urban fire, heat, etc.) | Presence of fire and related consequences (smoke, heat, etc.) in the proximity of an Asset | Presence of fire and related consequences (smoke, heat, etc.) in the proximity of an Asset | Gas Infrastructure Asset Buildings People | Burning of Asset Melting of Asset Adverse effect on impacted people's health/safety
Natural threat | Sky | Threats from Sky / Space ( Lightning, asteroids, etc.) | A lightning impacts an Asset Solid corps from the sky impact an Asset | A lightning impacts an Asset Solid corps from the sky impact an Asset | Gas Infrastructure Asset ICT / Control System Asset Buildings People | Destruction of Asset Damage to Asset Damage to ICT / Control System Assets Adverse effect on impacted people's health/safety
Natural threat | Biological | Biological threats (plants, fallen trees, etc.) | A plant impacts (falls on, grows against, etc.) an Asset | A plant impacts (falls on, grows against, etc.) an Asset | Gas Infrastructure Asset Buildings People | Damage of Asset Adverse effect on impacted people's health/safety
Natural threat | Biological | Pandemic | An airplain accident impacts an Asset | Epidemic occurring on a scale which crosses international boundaries, usually affecting a large number of people | People | Adverse effect on impacted people's health/safety
Intentional | Political | Political threats (civil disorder, riots, state of war, etc.) | Violent events in the proximity of an Asset Violent events targetting an Asset | Violent events in the proximity of an Asset Violent events targetting an Asset | Gas Infrastructure Asset ICT / Control System Asset Buildings People | Destruction of Asset Damage to Asset Adverse effect on impacted people's security
Intentional | Criminal | Physical threats from third persons to employee (kidnapping, extortion, acts of violence against employees, etc.) | A person is kidnapped A person is forced to execute commands against her will through extortion A person is injured or killed | A person is kidnapped A person is forced to execute commands against her will through extortion A person is injured or killed | People | Loss of (important) people for the organisation Adverse effect on impacted people's security People under criminal control acting against the organisation
Intentional | Criminal | Physical threats from third persons to objects (sabotage, physical intrusion, etc.) | Sabotage of an Asset Physical intrusion inside a restricted Asset | Sabotage of an Asset Physical intrusion inside a restricted Asset | Gas Infrastructure Asset ICT / Control System Asset Buildings | Destruction of Asset Damage to Asset Undesirable behaviour of Asset
Intentional | Criminal | Theft (IT property, vehicles, clothing, site-specific component, information, etc.) | Uncontrolled loss of an Asset or of a Component of an Asset | Uncontrolled loss of an Asset or of a Component of an Asset | Gas Infrastructure Asset ICT / Control System Asset Buildings Information | Absence/Lack of an Asset or of a Component of an Asset Presence of an Asset or of a Component of an Asset in malicious hands
Intentional | Criminal | Threats from Vandal (destruction, incendiarism, etc.) | A vandalic destruction impacts an Asset A vandalic incendiarism action in the proximity of an Asset | A vandalic destruction impacts an Asset A vandalic incendiarism action in the proximity of an Asset | Gas Infrastructure Asset Buildings People | Damage to Asset Burning of Asset Melting of Asset Adverse effect on impacted people's health/safety
Intentional | Criminal | Threats from Employees with Criminal Intentions (info theft, breach of confidentiality, fraud, sabotage, etc.) | Uncontrolled loss of an Asset or of a Component of an Asset Sabotage of an Asset A breach of information is performed by a insider A fraud is performed by an employee | Uncontrolled loss of an Asset or of a Component of an Asset Sabotage of an Asset A breach of information is performed by a insider A fraud is performed by an employee | Gas Infrastructure Asset ICT / Control System Asset | Absence/Lack of an Asset or of a Component of an Asset Presence of an Asset or of a Component of an Asset in malicious hands Destruction of Asset Damage to Asset Undesirable behaviour of Asset
Intentional | Non-criminal | Threats from Activists / Local community (Demonstrations, Protesting, Campaigning, Blockade, etc.) | Blockade by activists or trade unions of an Asset Demonstration/protesting (peaceful/violent) in the proximity of an Asset | Blockade by activists or trade unions of an Asset Demonstration/protesting (peaceful/violent) in the proximity of an Asset | Gas Infrastructure Asset Buildings People | Limited access to Asset Adverse effect on impacted people's security Damage to Asset
Intentional | ICT | ICT attacks threats from third parties (hacking, introduction of malware, intrusion, etc.) | Compromission of an Asset: Logical intrusion in a system Propagation of malware inside organisation's systems and networks Hacking of organisation's system and networks | Compromission of an Asset: Logical intrusion in a system Propagation of malware inside organisation's systems and networks Hacking of organisation's system and networks | ICT / Control System Asset Information | Damage to Asset Undesirable behaviour of Asset (Systems and networks) Obtaining of information by malicious entity Unavailability of Asset (Systems and Information)
Intentional | ICT | ICT attacks threats from employees or internal person working in the organization (hacking, introduction of malware, intrusion, etc.) | Compromission of an Asset: Logical intrusion in a system Propagation of malware inside organisation's systems and networks Hacking of organisation's system and networks | Compromission of an Asset: Logical intrusion in a system Propagation of malware inside organisation's systems and networks Hacking of organisation's system and networks | ICT / Control System Asset Information | Damage to Asset Undesirable behaviour of Asset (Systems and networks) Obtaining of information by malicious entity Unavailability of Asset (Systems and Information)
Intentional | Foreign Powers | Threats from Foreign Powers (espionage, info theft, etc.) | Espionage action against organisation | Espionage action against organisation | ICT / Control System Asset People Information | Obtaining of information by malicious entity People under criminal foreign power control acting against the organisation
Intentional | Terrorist | Terrorist / Organised Crime (Explosive Device Attack, Small arms attack, Chemical, Biological, Radiological Attack (CBR)) | An explosion is caused inside / in the proximity of an Asset A small arms attack is performed agains a person / a group of persons A CBR attack is performed against a person / group of persons | An explosion is caused inside / in the proximity of an Asset A small arms attack is performed agains a person / a group of persons A CBR attack is performed against a person / group of persons | Gas Infrastructure Asset Buildings People | Destruction of Asset Damage to Asset Adverse effect on impacted people's security
Indirect Threats | Accident | Aviation Accidents on air and ground | An airplain accident impacts an Asset | An airplain accident impacts an Asset | Gas Infrastructure Asset Buildings People | Destruction of Asset Damage to Asset Adverse effect on impacted people's health/safety
Indirect Threats | Accident | Maritime Accidents on port, near cost and off the coast | Cruisers, ferries, barges and tug boats accidents impact an Asset | Cruisers, ferries, barges and tug boats accidents impact an Asset | Gas Infrastructure Asset Buildings People | Destruction of Asset Damage to Asset Adverse effect on impacted people's health/safety
Indirect Threats | Accident | Vehicle Accidents (Car Accident/ Multiple Car Accident/ Bus Accident) | A car / multiple car / lorry accident impacts an Asset | A car / multiple car / lorry accident impacts an Asset | Gas Infrastructure Asset Buildings People | Damage to Asset Adverse effect on impacted people's health/safety
Indirect Threats | Accident | Rail Accidents occurring above or below ground | A rail accident in the proximity impacts an Asset | A rail accident in the proximity impacts an Asset | Gas Infrastructure Asset Buildings People | Destruction of Asset Damage to Asset Adverse effect on impacted people's health/safety
Indirect Threats | Accident | Threats deriving from neighbouring businesses / houses / sensitive targets (accidents in neighbouring businesses / houses / sensitive targets having impact on Assets, etc.) | An accident occuring to neighbouring businesses / houses / sensitive targets impacts an Asset | An accident occuring to neighbouring businesses / houses / sensitive targets impacts an Asset | Gas Infrastructure Asset Buildings People | Destruction of Asset Damage to Asset Adverse effect on impacted people's health/safety
Note on G4: KPMG: Considering only the direct impact of the threat (e.g. in case of an earthquake: - the direct impact is on the building - the indirect impact is on the person that are impacted by the collapse of the building)

## Impact-Likelihood (Risk Matrix)
Security Risk Assessment Methodology (Risk Matrix) Prepared by KPMG for GIE
Risk scenarios likelihood
|  | 1 | 2 | 3 | 4 | 5
Risk Scenario impact Weighted Impact (Ws) Average | 5 | 5 | 10 | 15 | 20 | >25
| 4 | 4 | 8 | 12 | 16 | 20
| 3 | 3 | 6 | 9 | 12 | 15
| 2 | 2 | 4 | 6 | 8 | 10
| 1 | 1 | 2 | 3 | 4 | 5
|  | Asset risk | Value
|  | Very low | 1:2
|  | Low | 2:4
|  | Medimu | 4:8
|  | High | 8:16
|  | Very high | >16

## Likelihood Estimation Scale
Security Risk Assessment Methodology (Likelihood Estimation Scale) Prepared by KPMG for GIE
Likelihood Estimation Scale | 1 | Very low probability | It is extremely unlikely that the incident will occur: no experience in the gas sector
| 2 | Low probability | It is unlikely to occur: very limited experience in the gas sector: occurs approximately once over 10 year)
| 3 | Medium probability | It is a likely event: similar accidents have been reported in the gas sector and occur approximately once every 5 years
| 4 | High probability | It is very likely to occur: it has been experienced in most systems in the gas sector and occurs once per year
| 5 | Very high probability | It will happen in the close future: occurs twice per year or more

## Threat vs Asset
FILL IN ALL FIELDS |  |  | Asset vs. Threat applicability matrix | [18 empty] | Risk scenarios likelihood | Asset Criticality | [13 empty] | Risk scenarios Impact
|  |  | Surrounding environment | [7 empty] | Geographical characteristic
|  |  | Houses, industrial sites | Airport/Flight paths | Railways | Road / motorway | Waterways or ports | High-voltage power lines | Sensitive targets | High criminality area | Land Area | Shore Area | Off-shore | Volcanic Area | Cold / rainy area | Proximity to Lakes, Rivers | Sismic Area | Mountain Area | Proximity to woods/ agricultural fields | Tornado / Storm Area | Desertic Area |  | Internal dependencies |  | External dependencies |  | Financial impact |  | Gas supply impact |  | House/ Facilities |  | Workforce |  | Service Deliver
Asset/Component XXX Characteristics (from Asset Classification) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Threat source type | Threat source | Threat class: | Considering the Asset/Component Characteristics, is the threat class applcable to the specific Asset/Component? (YES /NO) | [18 empty] | If the Treat Class is applicable, evaluate the specific security risk scenarios likelihood (L) | Considering the Asset/Component Criticality, specify the impact (seriousness) of the threat class to the specific Asset/Component ? (This will influence the final value of the implact considered) | [13 empty] | Weighted Impact (Ws) Average | Asset Risk (Ar) value / threat class - Ar=f(Ws; L) |  | Risk value per asset criticality and per threat class
[23 empty] | Impact | Weighted impact | Impact | Weighted impact | Impact | Weighted impact | Impact | Weighted impact | Impact | Weighted impact | Impact | Weighted impact | Impact | Weighted impact |  |  |  | Internal dependencies | External dependencies | Financial impact | Gas supply impact | House/ Facilities | Workforce | Service Deliver
Natural threat | Earth | Threats related to Earthquake (shock waves, earth cracks, etc.) | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural threat | Earth | Threats related to Land slide (landslide, mudslide, etc.) | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural threat | Earth | Volcanic eruption threats | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural threat | Air | Wind Strength related threats (tornado, wind storm, etc.), including Material Movement (dust / sand storm, etc.) | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural threat | Water | Snow related threats (from sky, from mountains, etc.) | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural threat | Water | Threats related to Hail (grandine) | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural threat | Water | Water (dynamic) related threats - Tidal Wave / Tsunami | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural threat | Water | Water (dynamic) related threats - Flood | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural threat | Water | Water (dynamic) related threats - Water Spout (tromba marina o tromba d'acqua) | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural threat | Fire | Threats related to fire (fire storm, wild fire, urban fire, heat, etc.) | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural threat | Sky | Threats from Sky / Space ( Lightning, asteroids, etc.) | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural threat | Biological | Biological threats (plants, fallen trees, etc.) | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Intentional | Political | Political threats (civil disorder, riots, state of war, etc.) | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Intentional | Criminal | Physical threats from third persons to employee (kidnapping, extortion, acts of violence against employees, etc.) | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Intentional | Criminal | Physical threats from third persons to objects (sabotage, physical intrusion, etc.) | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Intentional | Criminal | Theft (IT property, vehicles, clothing, site-specific component, information, etc.) | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Intentional | Criminal | Threats from Vandal (destruction, incendiarism, etc.) | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Intentional | Criminal | Threats from Employees with Criminal Intentions (info theft, breach of confidentiality, fraud, sabotage, etc.) | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Intentional | Non-criminal | Threats from Activists / Local community (Demonstrations, Protesting, Campaigning, Blockade, etc.) | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Intentional | ICT | ICT attacks threats from third parties (hacking, introduction of malware, intrusion, etc.) | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Intentional | ICT | ICT attacks threats from employees or internal person working in the organization (hacking, introduction of malware, intrusion, etc.) | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Intentional | Foreign Powers | Threats from Foreign Powers (espionage, info theft, etc.) | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Intentional | Terrorist | Terrorist / Organised Crime (Explosive Device Attack, Small arms attack, Chemical, Biological, Radiological Attack (CBR)) | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Indirect Threats | Accident | Aviation Accidents on air and ground | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Indirect Threats | Accident | Maritime Accidents on port, near cost and off the coast | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Indirect Threats | Accident | Vehicle Accidents (Car Accident/ Multiple Car Accident/ Bus Accident) | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Indirect Threats | Accident | Rail Accidents occurring above or below ground | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Indirect Threats | Accident | Threats deriving from neighbouring businesses / houses / sensitive targets (accidents in neighbouring businesses / houses / sensitive targets having impact on Assets, etc.) | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
Indirect Threats | Pandemic | Epidemic occurring on a scale which crosses international boundaries, usually affecting a large number of people | [19 empty] | Choose from the Likelihood Estimation Scale |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A | 0 | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0
[40 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[40 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[23 empty] | Object / Asset Classification | [14 empty] | #DIV/0!
Choose from the Likelihood Estimation Scale
1 - Very low probability
2 - Low probability
3 - Medium probability
4 - High probability
5 - Very high probability

## Graph
Security Risk Assessment Methodology (Graph) Prepared by KPMG for GIE
|  | Low risk | 0 | 0%
|  | Medium risk | 0 | 0%
|  | High risk | 0 | 0%
|  | N/A | 28 | 100%
Object /asset classification
|  | Object / Asset Classification | #DIV/0! |  | 1:4 | 4:8 | 8:25
Threat source type | Threat source | Threat class: | Asset Risk (Ar) value
Natural threat | Earth | Threats related to Earthquake (shock waves, earth cracks, etc.) | N/A
Natural threat | Earth | Threats related to Land slide (landslide, mudslide, etc.) | N/A
Natural threat | Earth | Volcanic eruption threats | N/A
Natural threat | Air | Wind Strength related threats (tornado, wind storm, etc.), including Material Movement (dust / sand storm, etc.) | N/A
Natural threat | Water | Snow related threats (from sky, from mountains, etc.) | N/A
Natural threat | Water | Threats related to Hail (grandine) | N/A
Natural threat | Water | Water (dynamic) related threats - Tidal Wave / Tsunami | N/A
Natural threat | Water | Water (dynamic) related threats - Flood | N/A
Natural threat | Water | Water (dynamic) related threats - Water Spout (tromba marina o tromba d'acqua) | N/A
Natural threat | Fire | Threats related to fire (fire storm, wild fire, urban fire, heat, etc.) | N/A
Natural threat | Sky | Threats from Sky / Space ( Lightning, asteroids, etc.) | N/A
Natural threat | Biological | Biological threats (plants, fallen trees, etc.) | N/A
Intentional | Political | Political threats (civil disorder, riots, state of war, etc.) | N/A
Intentional | Criminal | Physical threats from third persons to employee (kidnapping, extortion, acts of violence against employees, etc.) | N/A
Intentional | Criminal | Physical threats from third persons to objects (sabotage, physical intrusion, etc.) | N/A
Intentional | Criminal | Theft (IT property, vehicles, clothing, site-specific component, information, etc.) | N/A
Intentional | Criminal | Threats from Vandal (destruction, incendiarism, etc.) | N/A
Intentional | Criminal | Threats from Employees with Criminal Intentions (info theft, breach of confidentiality, fraud, sabotage, etc.) | N/A
Intentional | Non-criminal | Threats from Activists / Local community (Demonstrations, Protesting, Campaigning, Blockade, etc.) | N/A
Intentional | ICT | ICT attacks threats from third parties (hacking, introduction of malware, intrusion, etc.) | N/A
Intentional | ICT | ICT attacks threats from employees or internal person working in the organization (hacking, etc.) | N/A
Intentional | Foreign Powers | Threats from Foreign Powers (espionage, info theft, etc.) | N/A
Intentional | Terrorist | Terrorist / Organised Crime (Explosive Device Attack, Small arms attack, Chemical, Biological, Radiological Attack ) | N/A
Indirect Threats | Accident | Aviation Accidents on air and ground | N/A
Indirect Threats | Accident | Maritime Accidents on port, near cost and off the coast | N/A
Indirect Threats | Accident | Vehicle Accidents (Car Accident/ Multiple Car Accident/ Bus Accident) | N/A
Indirect Threats | Accident | Rail Accidents occurring above or below ground | N/A
Indirect Threats | Accident | Threats deriving from neighbouring businesses / houses / sensitive targets | N/A
Indirect Threats | Pandemic | Epidemic occurring on a scale which crosses international boundaries, usually affecting a large number of people | N/A

## Dashboard
Security Risk Assessment Methodology (Dashboard) Prepared by KPMG for GIE
Object /asset classification
Threat source type | Threat source | Threat class: | Asset 1 Risk value | Asset 2 Risk value | Asset 3 Risk value | Asset 4 Risk value | Asset ... Risk value | Asset n Risk value | Low | Medium | High
Natural threat | Earth | Threats related to Earthquake (shock waves, earth cracks, etc.)
Natural threat | Earth | Threats related to Land slide (landslide, mudslide, etc.)
Natural threat | Earth | Volcanic eruption threats
Natural threat | Air | Wind Strength related threats (tornado, wind storm, etc.), including Material Movement (dust / sand storm, etc.)
Natural threat | Water | Snow related threats (from sky, from mountains, etc.)
Natural threat | Water | Threats related to Hail (grandine)
Natural threat | Water | Water (dynamic) related threats - Tidal Wave / Tsunami
Natural threat | Water | Water (dynamic) related threats - Flood
Natural threat | Water | Water (dynamic) related threats - Water Spout (tromba marina o tromba d'acqua)
Natural threat | Fire | Threats related to fire (fire storm, wild fire, urban fire, heat, etc.)
Natural threat | Sky | Threats from Sky / Space ( Lightning, asteroids, etc.)
Natural threat | Biological | Biological threats (plants, fallen trees, etc.)
Intentional | Political | Political threats (civil disorder, riots, state of war, etc.)
Intentional | Criminal | Physical threats from third persons to employee (kidnapping, extortion, acts of violence against employees, etc.)
Intentional | Criminal | Physical threats from third persons to objects (sabotage, physical intrusion, etc.)
Intentional | Criminal | Theft (IT property, vehicles, clothing, site-specific component, information, etc.)
Intentional | Criminal | Threats from Vandal (destruction, incendiarism, etc.)
Intentional | Criminal | Threats from Employees with Criminal Intentions (info theft, breach of confidentiality, fraud, sabotage, etc.)
Intentional | Non-criminal | Threats from Activists / Local community (Demonstrations, Protesting, Campaigning, Blockade, etc.)
Intentional | ICT | ICT attacks threats from third parties (hacking, introduction of malware, intrusion, etc.)
Intentional | ICT | ICT attacks threats from employees or internal person working in the organization (hacking, etc.)
Intentional | Foreign Powers | Threats from Foreign Powers (espionage, info theft, etc.)
Intentional | Terrorist | Terrorist / Organised Crime (Explosive Device Attack, Small arms attack, Chemical, Biological, Radiological Attack )
Indirect Threats | Accident | Aviation Accidents on air and ground
Indirect Threats | Accident | Maritime Accidents on port, near cost and off the coast
Indirect Threats | Accident | Vehicle Accidents (Car Accident/ Multiple Car Accident/ Bus Accident)
Indirect Threats | Accident | Rail Accidents occurring above or below ground
Indirect Threats | Accident | Threats deriving from neighbouring businesses / houses / sensitive targets
Indirect Threats | Pandemic | Epidemic occurring on a scale which crosses international boundaries, usually affecting a large number of people

## Guidelines
Security Risk Assessment Methodology (Guidelines) Prepared by KPMG for GIE
Kind of protection | Control Area | List of controls | Object classification
|  |  | Low risk | Medium risk | High risk
External protection | HVAC Systems | [Specific control]
| Chemical, biological and radiological (CBR) | [Specific control]
| Closed Circuit Television (CCTV) | [Specific control]
| Explosives and ballistics protection | [Specific control]
| Hostile Vehicle Mitigation (HVM) | [Specific control]
| Lighting | [Specific control]
| Perimeters and access control | [Specific control]
| Fire Escapes and Building Walls. | [Specific control]
Internal protection | Area Designations | [Specific control]
| Intrusion Detection Systems | [Specific control]
| Lock and keys | [Specific control]
| Document | [Specific control]
Overall vulnerability mitigation process | Vulnerable point Security | [Specific control]
Process control & IT | Access control | [Specific control]
| Network security management | [Specific control]
| Hardening management | [Specific control]
| Media handling | [Specific control]
| Operations management | [Specific control]
| Phisical security | [Specific control]
| Logging and monitoring management | [Specific control]
Personnel security | Personnel security | [Specific control]
Training & awareness | Training & awareness | [Specific control]
Organizational security management | Organizational security management | [Specific control]

## psw (hidden)
ramgiekpmg